## ОП3 ГРУПА1-техн.
Обособена позиция №3, ГРУПА 1: "Доставка на Резервни части за PLC" - "Техническо предложение"
№ | Описание | Моделен номер | Срок на доставка в работни дни | Гаранционен срок в месеци (минимум 12 месеца с изключение на консумативите) | Производител
1 | ABB Procesor PM 860 KO1/ 3BSE 018100R1 | -
2 | ABB AI 801 Analog input 1* 8 ch | -
3 | ABB DI 801 Digital input 24V.d.c 1* 16 ch | -
4 | ABB DO 802 Digital output, Relay Normal open 1* 8 ch | -
5 | Bus outlet TB 805 / 3BSE 0085 34R1 | -
6 | Bus inlet TB 806 / 3BSE 0085 36R1 | -
7 | Комуникационен кабел ТК 801 V012 1.2 м | -
8 | Module bus terminale TB 807 | -
9 | Module bus modem TB 820V2 | -
10 | Cable – TK 81 / V015 POF 1.5 | -
11 | ABB Proces panel 245 PP 245 | -
12 | ABB Процесорен модул АС 800 М | -
13 | ABB Захранващ блок – SD821, 24 VDC, 2,5 A | -
14 | Cluster Modem TB 820V2 | -
15 | ABB Аналогови входове PLC Ai801 (4-20 mA) | -
16 | ABB Дискретни входове PLC DI 801 24V | -
17 | ABB Релейни изходи PLC DO 801 Relay 24 V-250 V | -
18 | Модем 3 COM 8 портов | -
19 | Реле – Tele – RT 1.3.230 (230V/50Hz) | -
20 | Реле – Tele – RT 2.3.024 (24 V DC) | -
21 | Реле SCHELE PTP 70730, 230 V, 6° | -
22 | Контактор АВВ А 145-30 | -
Комуникационен кабел |  | - | X | X | X
23 | ТК – РР 30V030 RS 232 – 3м | -
24 | HUB FO – Ethernet | -
Програмируем контролер SIMATIC S7 300 в състав: |  | - | X | X | X
25 | SIMATIC S7-300, CPU 315-2DP CPU WITH MPI INTERFACE INTEGRATED 24 V DC POWER SUPPLY 128 KBYTE WORKING MEMORY 2. INTERFACE DP-MASTER/SLAVE MICRO MEMORY CARD NECESSARY | -
26 | SIMATIC S7-300,LOAD POWER SUPP. PS 307, 120/230 V AC, 24 V DC, 5 A | -
27 | SITOP SMART 60 W STABILIZED LOAD POWER SUPPLY INPUT: 120/230 V AC OUTPUT: 24 V DC/2.5 A | -
28 | SIMATIC S7-300, RAIL L=530MM | -
29 | SIMATIC S7, MICRO MEMORY CARD F. S7-300/C7/ET 200S IM151 CPU, 3.3 V NFLASH, 128 KBYTES | -
30 | SIMATIC S7-300, DIGITAL INPUT SM 321, OPTICALLY ISOLATED 32DI, 24 V DC, 1 X 40 PIN | -
31 | SIMATIC S7-300, DIGITAL OUTPUT SM 322, OPTICALLY ISOLATED, 32DO, 24V DC, 0.5A, 1 X 40 PIN, SUM OF OUTPUT CURRENTS 4A/GROUP (16A/MODULE) | -
32 | SIMATIC S7-300, ANALOG INPUT SM 331, OPTICALLY ISOLATED, 8 AI, 13 BIT RESOLUTION, U/I/RESISTANCE/PT100, NI100, NI1000, LG-NI1000, 66 MS MODULE UPDATE, 1 X 40 PIN | -
33 | SIMATIC S7-300,FRONT CONNECTOR 392 WITH SCREW CONTACTS, 40-PIN | -
34 | SIMATIC DP, BUS CONNECTOR FOR PROFIBUS UP TO 12 MBIT/S 90 DEGREE ANGLE OUTGOING CABLE, 15,8 X 64 X 35,6 MM (WXHXD), TERMINAT. RESIST. WITH ISOLAT. FUNCTION, WITHOUT PG SOCKET | -
35 | PB FC RS 485 PLUG 180, PB-PLUG WITH FASTCONNECT CONNECTOR AND AXIAL CABLE- OUTLET F. INDUSTRY PC, SIMATIC OP, OLM, TRANSMISSION RATE: 12 MBIT/S, TERMINATING RESISTOR WITH SERAR. FUNCTION, PLASTIC HOUSING | -
36 | Операторски панел SIMATIC MP277 10” дисплей, с гъвкава клавиатура, програмиране с WinCC Flexible (SIEMENS) | -
37 | централен CPU 315-2 PN/DP SIEMENS | 6ES7315-2EH14-0AB0
38 | IM151-8 PN/DP CPU ET200S SIEMENS | 6ES7151-8AB01-0AB0
39 | комуникационна връзка CP340 RS422/485 SIEMENS | 6ES7340-1CH02-0AE0
40 | цифров вход SM321, 32DI SIEMENS | 6ES7321-1BL00-0AA0
41 | преден конектор 40 pin SIEMENS | 6ES7392-1BM01-0AA0
42 | дигитален изход SM322, 32DO SIEMENS | 6ES7322-1BL00-0AA0
43 | аналогов вход SM 331, 8AI, 9/12/14Bit SIEMENS | 6ES7331-7KF02-0AB0
44 | преден конектор 20 pin SIEMENS | 6ES7392-1BJ00-0AA0
45 | Захранване 120/230V AC / 24V DC, 5A SIEMENS | 6EP1333-3BA00
46 | SITOP DC-UPS Модул 24V/6A SIEMENS | 6EP1931-2DC21
47 | SITOP батериоя модул 24V/1,2Ah SIEMENS | 6EP1935-6MC01
48 | Захранващ модул PM-E, 24V DC, mit Diagnose SIEMENS | 6ES7138-4CA01-0AA0
49 | Терминален модул TM-P15C23-A0 SIEMENS | 6ES7193-4CD30-0AA0
50 | 4DI ST, DC 24V SIEMENS | 6ES7131-4BD01-0AA0
51 | TM-E15C26-A1 | 6ES7193-4CA50-0AA0
52 | 4DO ST, DC 24V/0.5A SIEMENS | 6ES7132-4BD02-0AA0
53 | електронен модул 4AI Стандарт I-2-WIRE SIEMENS | 6ES7134-4GD00-0AB0
54 | 2AI HF U, +/-10V, 1-5V SIEMENS | 6ES7134-4FB01-0AB0
55 | 2AE STD I-2DMU, 4-20MA / TM-E15C26-A1 SIEMENS | 6ES7134-4JB51-0AB0
56 | електронен модул 2AO I, +/-20mA, 4-20mA/Терминален модул SIEMENS | 6ES7135-4GB01-0AB0
57 | Scalance X104-2 SIEMENS | 6GK5104-2BB00-2AA3
58 | SITOP PSU100L 24 V/2,5 A SIEMENS | 6EP1332-1LB00
59 | SITRANS P200 SIEMENS | 7MF 1565-5BD00-1AA1
60 | DIN rail 530 mm | 6ES7390-1AF30-0AA0
61 | Digital input 16 DI, 24V DC, diagnostics; isolated | 6ES7321-7BH01-0AB0
62 | Front connector, 20-pin, with screw contacts | 6ES7392-1AJ00-0AA0
63 | Analog output 4 AO; 12-bit; isolated | 6ES7332-5HD01-0AB0
64 | Front connector, 40-pin, with screw contacts | 6ES7392-1AM00-0AA0
65 | Analog input 8AI; 13-bit; 66 ms; isolated | 6ES7331-1KF02-0AB0
66 | Digital output 8RO, relay, 5A, with RC filter | 6ES7322-5HF00-0AB0
67 | IM 153-2 High Feature for ET 200M, PROFIBUS DP | 6ES7153-2BA02-0XB0
68 | Active bus module IM/IM for 2 IM153-2 High Feature | 6ES7195-7HD10-0XA0
69 | Active bus module for 2 modules 40mm wide | 6ES7195-7HB00-0XA0
70 | UR2-H, central controller/expansion device; 2 x 9 slots, ALU | 6ES7400-2JA10-0AA0
71 | Power supply PS407 10A; 120/230V AC -> 5V/24V DC | 6ES7407-0KA02-0AA0
72 | CPU 412-5H; 2x 512KB RAM;1 MPI/DP, 1 DP, 1 PN | 6ES7412-5HK06-0AB0
73 | Fiber optic cable for synch module, 1m | 6ES7960-1AA04-5AA0
74 | Internal AI/AO module DI8x24V DC-AI5/AO2 | 6ES7314-6EH04-0AB0
75 | power module | 6EP1332-2BA10
76 | CPU S7-300 Simatic | 6ES7312-1AE14-0AB0
77 | DI16/DO16x24V DC module | 6ES7323-1BL00-0AA0
78 | ETHERNET module | 6GK7343-1CX10-0XE0
79 | SM332 4AO/16Bit module | 6ES7332-7ND02-0AB0
80 | SM331 8AI/13Bit module | 6ES7331-1KF01-0AB0
81 | COMMUNICATION PROCESSOR CP 343-1 SIMATIC NET | 6GK7 343–1EX20–0XE0
82 | CPU S7-300 SIMATIC | 6ES7 313-5BF03-0AB0
83 | SIMATIC ET 200M | 6ES7153-4AA01-0XB0
84 | DIGITAL MODULE SM 323,. OPTICALLY ISOLATED, 8 DI / 8 DO,. 24V DC | 6ES7323-1BH01-0AA0
85 | SIMATIC S7-300 SM 321 Digital Input Module 24V DC/16 DI | 6ES7 321-1BH01-0AA0
86 | SIMATIC OPERATOR PANEL OP77A BACKLIT LC DISPLAY, 4.5" DISPL. W. GRAPHICS CAPABIL MPI-/PROFIBUS-DP INTERFACE UP TO 1,5MB, FOR CONFIGURATION WINCC FLEXIBLE 2004 COMPACT | -
87 | SIMATIC S7-300, RAIL L=830MM | 6ES7390-1AJ30-0AA0
88 | SIMATIC S7-300, RAIL L=530MM | 6ES7390-1AF30-0AA0
89 | монтажна скара за ET 200M, 620mm | 6ES7195-1GG30-0XA0
90 | Монтажна релса SIMATIC DP, RAIL FOR ET 200M 483 MM LONG F. MAX. 5 BUS MOD. FUNCTION: INSERT/REMOVE | 6ES7195-1GA00-0XA0
91 | SIMATIC NET, POWER SUPPLY PS791-2AC (AC/DC POWER SUPPLY), 10W, IP65 (-40-+70 DGR C), INPUT: 110 -230 V AC, OUTPUT: 18 V DC CAN BE USED ONLY IN COMBINATION WITH SCALANCE W-786 SCOPE OF SUPPLY: MANUAL GERMAN/ENGLISH | 6GK5791-2AC00-0AA0
92 | SIMATIC S7-1200 POWER MODULE PM1207 STABILIZED POWER SUPPLY INPUT: 120/230 V AC OUTPUT: 24 V DC/2.5 A | 6EP1332-1SH71
93 | Захранване 24VDC/5A SITOP PSU100S 24 V/5 A STABILIZED POWER SUPPLY INPUT: 120/230 V AC OUTPUT: 24 V/5 A DC | 6EP1333-2BA20
94 | Захраващ блок LOGO POWER, 24V DC/1,3 A | 6EP1 331-1SH02
95 | UPS модул, монофазен 2000 VA, 1600 W, 4U, 420 мм дълбочина, RACK Mountable On-line double conversion with automatic by-pass and power factor correction | 7857482
96 | SIMATIC S7-300 STABILIZED POWER SUPPLY PS307 INPUT: 120/230 V AC OUTPUT: DC 24 V DC/5 A | 6ES7307-1EA01-0AA0
97 | 40W/1.7A DIN-Rail 24V VDC power supply with universal 85 to 264 VAC input: -20~70 | MDR-40-24
98 | Захранващ блок Input 100-230V AC/Output 24V VDC, 0.6A | 6EP1331-5BA00
99 | Захранващ блок SITOP PSU 100C, 24 V DC/1,3A | 6EP1331-5BA10
100 | SIMATIC S7-300, Захранващ блок PS 307, AC 120/230V; DC 24V, 5A | 6ES7307-1EA00-0AA0
101 | Захранване 120/230V AC / 24V DC, 10A | 6EP1334-3BA00
102 | SIMATIC S7-300, CPU 314 CPU WITH MPI INTERFACE, INTEGRATED 24 V DC POWER SUPPLY 96 KBYTE WORKING MEMORY, MICRO MEMORY CARD NECESSARY | 6ES7314-1AG13-0AB0
103 | CPU314, 128 KB SIMATIC S7-300, CPU 314 CPU WITH MPI INTERFACE, INTEGRATED 24V DC POWER SUPPLY, 128 KBYTE WORKING MEMORY | 6ES7314-1AG14-0AB0
104 | SIMATIC S7-1200, CPU 1212C, COMPACT CPU, AC/DC/RLY, ONBOARD I/O: 8 DI 24V DC; 6 DO RELAY 2A; 2 AI 0 - 10V DC, POWER SUPPLY: AC 85 - 264 V AC AT 47 - 63 HZ, PROGRAM/DATA MEMORY: 75 KB | 6ES7212-1BE40-0XB0
105 | CPU 1211C, DC/DC/DC, 6DI/4DO/2AI,SIMATIC S7-1200, CPU 1211C, COMPACT CPU, DC/DC/DC, ONBOARD I/O: 6 DI 24V DC; 4 DO 24 V DC; 2 AI 0 - 10V DC, POWER SUPPLY: DC 20.4 - 28.8 V DC, PROGRAM/DATA MEMORY: 50 KB | 6ES7211-1AE40-0XB0
106 | CPU 1211C, DC/DC/RELAY, 6DI/4DO/2AI SIMATIC S7-1200, CPU 1211C, COMPACT CPU, DC/DC/RELAY, ONBOARD I/O: 6 DI 24V DC; 4 DO RELAY 2A; 2 AI 0 - 10V DC, POWER SUPPLY: DC 20.4 - 28.8 V DC, PROGRAM/DATA MEMORY: 50 KB | 6ES7211-1HE40-0XB0
107 | CPU 1212C ,DC/DC/DC, 8DI/6DO/2AI SIMATIC S7-1200, CPU 1212C, COMPACT CPU, DC/DC/DC, ONBOARD I/O: 8 DI 24V DC; 6 DO 24 V DC; 2 AI 0 - 10V DC, POWER SUPPLY: DC 20.4 - 28.8 V DC, PROGRAM/DATA MEMORY: 75 KB | 6ES7212-1AE40-0XB0
108 | CPU 1212C, AC/DC/RELAY, 8DI/6DO/2AI SIMATIC S7-1200, CPU 1212C, COMPACT CPU, AC/DC/RLY, ONBOARD I/O: 8 DI 24V DC; 6 DO RELAY 2A; 2 AI 0 - 10V DC, POWER SUPPLY: AC 85 - 264 V AC AT 47 - 63 HZ, PROGRAM/DATA MEMORY: 75 KB | 6ES7212-1BE40-0XB0
109 | Програмируем контролер S7-300, CPU 313C, с интегрирани 24 DI,16 DO, 4 AI, 2AO, 1 PT100, 3 броячни входа (30 KHZ), интегрирано захранване DC 24V, работна памет 64 KBYTE (MICRO MEMORY CARD), челен съединител за В/И (2 X 40 pin) | 6ES7313-5BF03-0AB0
110 | SIMATIC S7-400H, 412-5H SYSTEM-BUNDLE H-SYSTEM WITH 1 X UR2-H, W/O MEMORY CARD, 2 X PS407 UC120/230V, 10A, 4 X SYNC-MODULE 10M, 2 X SYNC-CABLE 1M, 2 X CPU 412-5H, 4 X BACK-UP BATTERIES | 6ES7400-0HR01-4AB0
111 | CPU 1212C, DC/DC/RELAY, 8DI/6DO/2AI SIMATIC S7-1200, CPU 1212C, COMPACT CPU, DC/DC/RLY, ONBOARD I/O: 8 DI 24V DC; 6 DO RELAY 2A; 2 AI 0 - 10V DC, POWER SUPPLY: DC 20.4 - 28.8 V DC, PROGRAM/DATA MEMORY: 75 KB | 6ES7212-1HE40-0XB0
112 | CPU 1214C, DC/DC/DC, 14DI/10DO/2AI SIMATIC S7-1200, CPU 1214C, COMPACT CPU, DC/DC/DC, ONBOARD I/O: 14 DI 24V DC; 10 DO 24 V DC; 2 AI 0 - 10V DC, POWER SUPPLY: DC 20.4 - 28.8 V DC, PROGRAM/DATA MEMORY: 100 KB | 6ES7214-1AG40-0XB0
113 | CPU 1214C, AC/DC/RELAY, 14DI/10DO/2AI SIMATIC S7-1200, CPU 1214C, COMPACT CPU, AC/DC/RLY, ONBOARD I/O: 14 DI 24V DC; 10 DO RELAY 2A; 2 AI 0 - 10V DC, POWER SUPPLY: AC 85 - 264 V AC AT 47 - 63 HZ, PROGRAM/DATA MEMORY: 100 KB | 6ES7214-1BG40-0XB0
114 | CPU 1214C, DC/DC/RELAY, 14DI/10DO/2AI SIMATIC S7-1200, CPU 1214C, COMPACT CPU, DC/DC/RELAY, ONBOARD I/O: 14 DI 24V DC; 10 DO RELAY 2A; 2 AI 0 - 10V DC, POWER SUPPLY: DC 20.4 - 28.8 V DC, PROGRAM/DATA MEMORY: 100 KB | 6ES7214-1HG40-0XB0
115 | CPU 1214 FC, DC/DC/DC, 14DI/10DO/2AI SIMATIC S7-1200F, CPU 1214 FC, COMPACT CPU, DC/DC/DC, ONBOARD I/O: 14 DI 24V DC; 10 DO 24 V DC; 2 AI 0 - 10V DC, POWER SUPPLY: DC 20.4 - 28.8 V DC, PROGRAM/DATA MEMORY 125 KB | 6ES7214-1AF40-0XB0
116 | CPU 1214 FC, DC/DC/RELAY, 14DI/10DO/2AI SIMATIC S7-1200F, CPU 1214 FC, COMPACT CPU, DC/DC/RELAY, ONBOARD I/O: 14 DI 24V DC; 10 DO RELAY 2A; 2 AI 0 - 10V DC, POWER SUPPLY: DC 20.4 - 28.8 V DC, PROGRAM/DATA MEMORY 125 KB | 6ES7214-1HF40-0XB0
117 | CPU 1215C, DC/DC/DC, 14DI/10DO/2AI/2AO SIMATIC S7-1200, CPU 1215C, COMPACT CPU, DC/DC/DC, 2 PROFINET PORT, ONBOARD I/O: 14 DI 24V DC; 10 DO 24V DC 0.5A 2 AI 0-10V DC, 2 AO 0-20MA DC, POWER SUPPLY: DC 20.4 - 28.8 V DC, PROGRAM/DATA MEMORY: 125 KB | 6ES7215-1AG40-0XB0
118 | CPU 1215C, AC/DC/RLY, 14DI/10DO/2AI/2AO SIMATIC S7-1200, CPU 1215C, COMPACT CPU, AC/DC/RELAY, 2 PROFINET PORT, ONBOARD I/O: 14 DI 24V DC; 10 DO RELAY 2A, 2 AI 0-10V DC, 2 AO 0-20MA DC, POWER SUPPLY: AC 85 - 264 V AC AT 47 - 63 HZ, PROGRAM/DATA MEMORY: 125 KB | 6ES7215-1BG40-0XB0
119 | CPU 1215C, DC/DC/RLY, 14DI/10DO/2AI/2AO SIMATIC S7-1200, CPU 1215C, COMPACT CPU, DC/DC/RELAY, 2 PROFINET PORT, ONBOARD I/O: 14 DI 24V DC; 10 DO RELAY 2A, 2 AI 0-10V DC, 2 AO 0-20MA DC, POWER SUPPLY: DC 20.4 - 28.8 V DC, PROGRAM/DATA MEMORY: 125 KB | 6ES7215-1HG40-0XB0
120 | CPU 1217C, DC/DC/DC, 14DI/10DQ/2AI/2AQ SIMATIC S7-1200, CPU 1217C, COMPACT CPU, DC/DC/DC, 2 PROFINET PORT ONBOARD I/O: 10 DI 24V DC; 4 DI RS422/485; 6 DO 24V DC; 0,5A; 4 DO RS422/485; 2 AI 0- 10V DC, 2 AQ 0- 20MA; POWER SUPPLY: DC 20.4 - 28.8 V DC, PROGRAM/DATA MEMORY: 150 KB | 6ES7217-1AG40-0XB0
121 | SIMATIC RTU3030C SIMATIC RTU3030C - COMPACT LOW POWER RTU; BATTERY-OR RECHARGE. BATTERY OPERAT.; EXT. CONNECT. POWER SUPPLY 10.8 V UP TO 28.8 V DC; INTEGRATED UMTS- MODEM; CONNECT. TO TELECONTROL SERVER BASIC; DNP3 AND IEC60870-5-104 PROTOCOLS; ONBOARD I/O: 8DI, 4DO, 4AI; LOCAL ETHERNET-PORT; CONFIG./ DIAG. PER WEB-INTERFACE; CLOCK SYNCHRONISATION; SMS/E-MAIL; SD-CARD SLOT; | 6NH3112-3BA00-0XX0
122 | COMMUNICATION BOARD CB 1241, RS485 SIMATIC S7-1200, COMMUNICATION COMMUNICATION BOARD CB 1241, RS485, SCREW CONNECTOR SUPPORTS MESSAGE BASED FREEPORT | 6ES7241-1CH30-1XB0
123 | COMMUNICATION MODULE CM 1241, RS232 SIMATIC S7-1200, COMMUNICATION MODULE CM 1241, RS232, 9 PIN SUB D (MALE), SUPPORTS MESSAGE BASED FREEPORT | 6ES7241-1AH32-0XB0
124 | COMMUNICATION MODULE CM 1242-5 COMMUNICATION MODULE CM 1242-5; FOR CONNECTION OF SIMATIC S7-1200 TO PROFIBUS AS DP SLAVE MODULE | 6GK7242-5DX30-0XE0
125 | COMMUNICATION PROCESSOR CP 1243-1 COMMUNICATIONS PROCESSOR CP 1243-1 FOR CONNECTING SIMATIC S7-1200 TO TELECONTROL SERVER BASIC VIA ETHERNET ALSO SUITED FOR SAFE COMMUNICATION WITH NETWORK WITH FIREWALL AND VPN | 6GK7243-1BX30-0XE0
126 | COMMUNICATION PROCESSOR CP 1243-1 DNP3 COMMUNICATION PROCESSOR CP 1243-1 DNP3 FOR CONNECTING OF SIMATIC S7-1200 TO CONTROL CENTER WITH DNP3 PROTOCOL | 6GK7243-1JX30-0XE0
127 | COMMUNICATION PROCESSOR CP 1243-1 IEC COMMUNICATIONS PROCESSOR CP 1243-1 IEC FOR CONNECTING SIMATIC S7-1200 TO CONTROL CENTER W. PROTOCOL IEC60870-5-104 | 6GK7243-1PX30-0XE0
128 | COMMUNICATION MODULE CM 1243-5 COMMUNICATION MODULE CM 1243-5 FOR CONNECTION OF SIMATIC S7-1200 TO PROFIBUS AS DP MASTER MODULE; PG/OP COMMUNICATION; S7-COMMUNICATION | 6GK7243-5DX30-0XE0
129 | COMPACT SWITCH MODULE CSM 1277 COMPACT SWITCH MODULE CSM 1277 CONNECTION SIMATIC S7-1200 AND UP TO 3 FURTHER IND. ETHERNET USERS WITH 10/100 MBIT/S UNMANAGED SWITCH, 4 RJ45 PORTS, EXT. 24V DC POWER SUPPLY, LED DIAGNOSTICS, S7-1200 MODULE INCL. ELECTRONIC MANUAL ON CD | 6GK7277-1AA10-0AA0
130 | TS MODUL GSM TS MODULE GSM; GSM/GPRS MODEM FOR TS ADAPTER; TELESERVICE VIA PUBLIC GSM NETZ PLEASE NOTE NATIONAL APPROVALS FOR USE WITH TS ADAPTER (6ES7972-0EB00-0XA0) FOR TELESERVICE APPLICATIONS VIA PUBLIC GSM NET | 6GK7972-0MG00-0XA0
131 | COMMUNICATION PROCESSOR CP 1242-7 CP 1242-7 V2 COMMUNICATIONS PROCESSOR FOR CONNECTING SIMATIC S7-1200 TO GSM/GPRS NETWORK; WEB SERVER ACCESS TO CPU, DATA POINT CONFIGURING | 6GK7242-7KX31-0XE0
132 | SIMATIC S7 MEMORY CARD, 4 MB SIMATIC S7, MEMORY CARD FOR S7-1X00 CPU/SINAMICS, 3,3 V FLASH, 4 MBYTE | 6ES7954-8LC02-0AA0
133 | ИНТЕРЕФЕЙСМОДУЛ IM151-3 PN ST | 6ES7151-3AA23-0AB0
134 | SIMATIC S7, MICRO MEMORY CARD F. S7-300/C7/ET 200S IM151 CPU, 3.3 V NFLASH, 128 KBYTES | 6ES7953-8LG11-0AA0
135 | SIMATIC S7, MICRO MEMORY CARD FOR S7-300/C7/ET 200, 3.3 V NFLASH, 128 KBYTES | 6ES7953-8LG30-0AA0
136 | SIMATIC S7, MEMORY CARD FOR S7-400, LONG VERSION, 5V FLASH-EPROM, 1 MBYTE | 6ES7952-1KK00-0AA0
137 | Micro-Memory-Card 128kByte | 6ES7953-8LG20-0AA0
138 | SIMATIC NET, C- PLUG REPLACEABLE , FOR SIMPLE DEVICE EXCHANGE IN CASE OF FAILURE, FOR STORAGE OF CONFIGURATION OR USER DATA, APPLICATION IN SIMATIC NET PRODUCTS WITH C-PLUG SLOT | 6GK1900-0AB00
139 | SIMATIC S7-300, DIGITAL INPUT SM 321, OPTICALLY ISOLATED 32 DI, 24V DC, 40 PIN | 6ES7321-1BL00-0AA0
140 | SIMATIC S7-300, DIGITAL INPUT SM 321, OPTICALLY ISOLATED 16 DI, 120/230V AC, 20 PIN | 6ES7321-1FH00-0AA0
141 | SIMATIC S7, DIGITAL INPUT SM 321, OPTICALLY ISOLATED, 4 DI, 24V DC, NAMUR/DIN 19234, F. SIGNALS F HAZARDOUS AREAS, CAPABLE OF DIAGNOST.,PTB-TESTED | 6ES7321-7RD00-0AB0
142 | SIMATIC S7-1200, DIGITAL INPUT SM 1221, 8DI, 24V DC, SINK/SOURCE INPUT | 6ES7221-1BF32-0XB0
143 | DIGITAL INPUT SM 1221, 16DI, 24V DC SIMATIC S7-1200, DIGITAL INPUT SM 1221, 16 DI, 24VDC, SINK/SOURCE INPUT | 6ES7221-1BH32-0XB0
144 | DIGITAL OUTPUT SM 1222, 8 DO, RELAY SIMATIC S7-1200, DIGITAL OUTPUT SM 1222, 8 DO, RELAY 2A | 6ES7222-1HF32-0XB0
145 | DIGITAL OUTPUT SM 1222, 8 DO, CHANGEOVER SIMATIC S7-1200, DIGITAL OUTPUT SM 1222, 8 DO, RELAY CHANGEOVER CONTACT | 6ES7222-1XF32-0XB0
146 | DIGITAL OUTPUT SM1222, 16 DO, RELAY SIMATIC S7-1200, DIGITAL OUTPUT SM 1222, 16 DO, RELAY 2A | 6ES7222-1HH32-0XB0
147 | DIGITAL OUTPUT SM1222, 8 DO, 24V DC SIMATIC S7-1200, DIGITAL OUTPUT SM 1222, 8 DO, 24V DC, TRANSISTOR 0.5A | 6ES7222-1BF32-0XB0
148 | DIGITAL OUTPUT SM1222, 16 DO, 24V DC SIMATIC S7-1200, DIGITAL OUTPUT SM 1222, 16 DO, 24V DC, TRANSISTOR 0.5A | 6ES7222-1BH32-0XB0
149 | DIGITAL I/O SM 1223, 8 DI / 8 DO SIMATIC S7-1200, DIGITAL I/O SM 1223, 8DI / 8DO, 8DI DC 24 V, SINK/SOURCE, 8DO, TRANSISTOR 0.5A | 6ES7223-1BH32-0XB0
150 | DIGITAL I/O SM 1223, 16DI/16DO SIMATIC S7-1200, DIGITAL I/O SM 1223, 16DI / 16DO, 16DI DC 24 V, SINK/SOURCE, 16DO, TRANSISTOR 0.5A | 6ES7223-1BL32-0XB0
151 | DIGITAL I/O SM 1223, 8DI/8DO SIMATIC S7-1200, DIGITAL I/O SM 1223, 8DI / 8DO, 8DI DC 24 V, SINK/SOURCE, 8DO, RELAY 2A | 6ES7223-1PH32-0XB0
152 | DIGITAL I/O SM 1223, 16DI/16DO SIMATIC S7-1200, DIGITAL I/O SM 1223, 16DI / 16DO, 16DI DC 24 V, SINK/SOURCE, 16DO, RELAY 2A | 6ES7223-1PL32-0XB0
153 | DIGITAL I/O SM 1223, 8DI AC/ 8DO RLY SIMATIC S7-1200, DIGITAL I/O SM 1223, 8DI AC / 8DO RLY, 8DI 120/230 V AC, 8DO, RELAY 2A | 6ES7223-1QH32-0XB0
154 | SIMATIC S7-300, DIGITAL OUTPUT SM 322, OPTICALLY ISOLATED, 16 DO, 24V DC, 0.5A, 20 PIN SUM OF OUTPUT CURRENTS 4A/GROUP (8A/MODULE) | 6ES7322-1BH01-0AA0
155 | 4DE ST, DC 24V / TM-E15C26-A1 | 6ES7131-4BD01-0AA0 / 6ES7193-4CA50-0AA0
156 | 4DA ST, DC 24V/0.5A / TM-E15C26-A1 | 6ES7132-4BD02-0AA0 / 6ES7193-4CA50-0AA0
157 | SIMATIC S7-300, ANALOG INPUT SM 331, OPTICALLY ISOLATED, 8 AI, 13 BIT RESOLUTION, U/I/RESISTANCE/PT100, NI100, NI1000, LG-NI1000, 66 MS MODULE UPDATE, 40 PIN | 6ES7331-1KF01-0AB0
158 | SIMATIC S7, ANALOG INPUT SM 331, OPTICALLY ISOLATATED, 4 AI, 0/4 - 20MA, 1 X 20 PIN, F. SIGNALS F. HAZARDOUS AREAS, CAPABLE OF DIAGNOST.,PTB-TESTED | 6ES7331-7RD00-0AB0
159 | SIMATIC S7, ANALOG INPUT SM 331, OPTICALLY ISOLATATED, 8 AI THERMOCOUPLE/4 AI PT100, F. SIGNALS F. HAZARDOUS AREAS, CAPABLE OF DIAGNOST.,PTB-TESTED 1 X 20 PIN | 6ES7331-7SF00-0AB0
160 | ANALOG INPUT SM 1231, 4AI SIMATIC S7-1200, ANALOG INPUT, SM 1231, 4 AI, +/-10V, +/-5V, +/-2.5V, OR 0-20MA/4-20 MA, 12 BIT + SIGN BIT (13 BIT ADC) | 6ES7231-4HD32-0XB0
161 | ANALOG INPUT SM 1231, 8AI SIMATIC S7-1200, ANALOG INPUT, SM 1231, 8 AI, +/-10V, +/-5V, +/-2.5V, OR 0-20MA/4-20 MA, 12 BIT + SIGN OR (13 BIT ADC) | 6ES7231-4HF32-0XB0
162 | ANALOG INPUT SM 1231, 4AI 16BIT SIMATIC S7-1200, ANALOG INPUT, SM 1231, 4 AI, +/-10V, +/-5V, +/-2.5V, +/-1.25 OR 0-20MA/4-20 MA, 15 BIT + SIGN BIT | 6ES7231-5ND32-0XB0
163 | S7-1200, ANALOG INPUT SM 1231 RTD, 4 AI SIMATIC S7-1200, ANALOG INPUT, SM 1231 RTD, 4 X AI RTD MODULE | 6ES7231-5PD32-0XB0
164 | S7-1200, ANALOG INPUT SM 1231 RTD, 8 AI SIMATIC S7-1200, ANALOG INPUT, SM 1231RTD, 8 X AI RTD MODULE | 6ES7231-5PF32-0XB0
165 | S7-1200, ANALOG INPUT SM 1231 TC, 4 AI SIMATIC S7-1200, ANALOG INPUT, SM 1231 TC, 4 AI THERMOCOUPLE | 6ES7231-5QD32-0XB0
166 | S7-1200, ANALOG INPUT SM 1231 TC, 8 AI SIMATIC S7-1200, ANALOG INPUT, SM 1231 TC, 8 AI THERMOCOUPLE | 6ES7231-5QF32-0XB0
167 | SM 1238 Energy Meter 480V AC SIMATIC S7-1200, Analog input, SM 1238 Energy Meter 480V AC, Energy measurement module for recording electrical parameters in 1 and 3 phase networks (TN, TT) up to 480VAC; current range: 1A, 5A; recording of voltages, currents, phase angels, power, energy values, frequencies; channel diagnosis | 6ES7238-5XA32-0XB0
168 | ANALOG OUTPUT SM 1232, 4AO SIMATIC S7-1200, ANALOG OUTPUT, SM 1232, 4 AO, +/-10V, 14 BIT RESOLUTION, OR 0 - 20 MA/4 - 20 MA, 13 BIT RESOLUTION | 6ES7232-4HD32-0XB0
169 | ANALOG OUTPUT SM 1232, 2AO SIMATIC S7-1200, ANALOG OUTPUT, SM 1232, 2 AO, +/-10V, 14 BIT RESOLUTION, OR 0 - 20 MA/4 - 20 MA, 13 BIT RESOLUTION | 6ES7232-4HB32-0XB0
170 | ANALOG I/O SM 1234, 4AI/2AO SIMATIC S7-1200, ANALOG I/O SM 1234, 4 AI / 2 AO, +/-10V, 14 BIT RESOLUTION OR 0(4) - 20 MA, 13 BIT RESOLUTION | 6ES7234-4HE32-0XB0
171 | DIGITAL INPUT SM 1226, F-DI 16X 24VDC SIMATIC S7-1200, DIGITAL INPUT, SM 1226, F-DI 16X 24VDC, PROFISAFE, 70 MM WIDTH, UP TO PL E (ISO 13849-1)/ UP TO SIL3 (IEC 61508) | 6ES7226-6BA32-0XB0
172 | DIGITAL OUTPUT SM 1226, F-DQ 4X 24VDC SIMATIC S7-1200, DIGITAL OUTPUT SM 1226, F-DQ 4X 24VDC 2A, PROFISAFE, 70 MM WIDTH, UP TO PL E (ISO 13849-1)/ UP TO SIL3 (IEC 61508) | 6ES7226-6DA32-0XB0
173 | DIGITAL OUTPUT SM 1226, F-DQ 2X RELAY SIMATIC S7-1200, RELAY OUTPUT SM 1226, F-DQ 2X RLY 5A, PROFISAFE, 70 MM WIDTH, UP TO PL E (ISO 13849-1)/ UP TO SIL3 (IEC 61508) | 6ES7226-6RA32-0XB0
174 | SIMATIC S7-300, ANALOG OUTPUT SM 332, OPTICALLY ISOLATED, 4 AO, U/I; DIAGNOSTICS; RESOLUTION 11/12 BITS, 20 PIN, REMOVE/INSERT W. ACTIVE, | 6ES7332-5HD01-0AB0
175 | електронен модул 4AI Стандарт I-2-WIRE | 6ES7134-4GD00-0AB0 / 6ES7193-4CA50-0AA0
176 | 2AE HF U, +/-10V, 1-5V / TM-E15C26-A1 | 6ES7134-4FB01-0AB0 / 6ES7193-4CA50-0AA0
177 | 2AE STD I-2DMU, 4-20MA / TM-E15C26-A1 | 6ES7134-4JB51-0AB0 / 6ES7193-4CA50-0AA0
178 | електронен модул 2AO I, +/-20mA, 4-20mA/Терминален модул | 6ES7135-4GB01-0AB0+TM-E15C26-A1
179 | SIMATIC DP, магистрален съединител | 6ES7972-0BB12-0XA0
180 | SIMATIC NET, магистрален съединител за КTP1000 , 12MBIT/S | 6GK1500-0EA02
181 | RJ45 PLUG CONNECTOR W. RUGGED METAL HOUSING AND FC CONNECTING METHOD, 180 DGR CABLE OUTLET 1 PACK = 10 PCS | 6GK1901-1BB10-2AB0
182 | SIMATIC DP,BUS CONNECTOR FOR PROFIBUS UP TO 12 MBIT/S 90 DEGREE ANGLE OUTGOING CABLE, 15,8 X 59 X 35,6 MM (WXHXD), IPCD TECHOLOGY FAST CONNECT, WITHOUT PG SOCKET | 6ES7972-0BA52-0XA0
183 | SIMATIC DP,BUS CONNECTOR FOR PROFIBUS UP TO 12 MBIT/S 90 DEGREE ANGLE OUTGOING CABLE, 15,8 X 59 X 35,6 MM (WXHXD), IPCD TECHOLOGY FAST CONNECT, WITH PG SOCKET | 6ES7972-0BB52-0XA0
184 | COMPACT SWITCH MODULE CSM 1277 CONNECTION SIMATIC S7-1200 AND UP TO 3 FURTHER IND. ETHERNET USERS WITH 10/100 MBIT/S UNMANAGED SWITCH, 4 RJ45 PORTS, EXT. 24V DC POWER SUPPLY, LED DIAGNOSTICS, S7-1200 MODULE INCL. ELECTRONIC MANUAL ON CD | 6GK7277-1AA10-0AA0
185 | Комуникационен процесор CP5611 за МРІ/Profibus-DP (за операторската станция) | 6GK1561-1AA01
186 | SIMATIC NET, IE, CP 1623 PCI EXPRESS X1 (3.3V/12V) FOR CONNECTING WITH IND. ETHERNET (10/100/1000MBIT/S) WITH 2-PORT-SWITCH(RJ45) VIA S7-1613 AND S7-REDCONNECT INCL. DRIVER FOR MS WINDOWS (32BIT), XP PRO, 2003 SERVER, VISTA ULTIMATE/ BUSINESS | 6GK1162-3AA00
187 | SCALANCE X208, MANAGED IE SWITCH, 8 X 10/100MBIT/S RJ45 PORTS, LED DIAGNOSTICS, ERROR SIGNAL CONTACT WITH SET BUTTON, REDUNDANT POWER SUPPLY, PROFINET-IO DEVICE, NETWORK MANAGEMENT, INTEGRATED REDUNDANCY MANAGER, INCL. ELECTRONIC MANUAL ON CD, C-PLUG OPTIONAL | 6GK5208-0BA10-2AA3
188 | SIMATIC S7-300,INTERFACE MODULE IM 365 FOR CONNECTING AN EXPANSION RACK, W/O K-BUS, 2 MODULES + CONNECTING CABLE 1M | 6ES7365-0BA01-0AA0
189 | ET200M, IM153-2 INTERFACE REDUND.BUNDLE SIMATIC DP, ET200M-RED.-BUNDLE CONSISTING OF TWO IM153-2HF (-2BA02) AND ONE BUSMODULE IM/IM 6ES7195-7HD10-0XA0 | 6ES7153-2AR03-0XA0
190 | SIMATIC NET, IWLAN ACCESS POINT SCALANCE W786-1PRO, IEEE 802.11B/G/A/H, INDUSTRIAL WIRELESS LAN (IWLAN) 2.4/5 GHZ, UP TO 54MBIT/S, WPA2/802.11I/11E, NATIONAL APPROVALS, 48VDC, IP65(-40-+70 DGR C) 2XEXT. ANTENNA CONNECTIONS 1 RADIO INTERFACE, POE, RJ45 (TWISTED PAIR) SOCKET SCOPE OF SUPPLY: MOUNT. MAT., MANUAL ON CD-ROM GERMAN/ENGLISH; | 6GK5786-1AA60-2AA0
191 | IWLAN Access Point W784-1, 24V DC | 6GK5784-1AA30-2AA0
192 | SIMATIC NET, IWLAN ETHERNET CLIENT MODULE SCALANCE W744-1, 1 RADIO INTERFACE, IEEE 802.11B/G/A/H, INDUSTRIAL WIRELESS LAN (IWLAN), 2.4/5GHZ, UP TO 54 MBIT/S, 24VDC WPA2/802.11I/11E, NATIONAL APPROVALS, POE, IP30 (-20-+60 DGR C) 2XEXT. ANTENNA CONNECTIONS SCOPE OF SUPPLY: MANUALS ON CD ROM GERMAN/ENGLISH, 24VDC TERMINAL BLOCK | 6GK5744-1AA30-2AA0
193 | SIMATIC NET, IWLAN RCOAX N-CONNECT/ R-SMA MALE/MALE FLEXIBLE CONNECTION CABLE PRE-ASSEMBLED, LENGTH 5M 2.4GHZ FLEXIBLE CONNECTION CABLE FOR COMPONENTS WITH R-SMA CONNECTION AND RCOAX N-CONNECT | 6XV1875-5CH50
194 | SIMATIC NET, IWLAN RCOAX N-CONNECT/ R-SMA MALE/MALE FLEXIBLE CONNECTION CABLE PREASSEMBLED, LENGTH 10M 2.4 AND 5 GHZ FLEXIBLE CONNECT. CABLE FOR COMPONENTS WITH R-SMA CONNECTION AND RCOAX N-CONNECT | 6XV1875-5CN10
195 | SIMATIC NET, IE FC TP STANDARD CABLE, GP 2X2 (PROFINET TYP A) TP INSTALLATION CABLE FOR CONNECTION TO FC OUTLET RJ45, FOR UNIVERSAL APPLICATION, 4-WIRE, SHIELDED, CAT. 5 | 6XV1840-2AH10
196 | BUS CABLE, 2-WIRE, SHIELDED, SPECIAL DESIGN FOR RAPID INSTALLATION | 6XV1830-0EH10
197 | SIMATIC NET IE FC RJ45 PLUG 180 RJ45 PLUG CONNECTOR W. RUGGED METAL HOUSING AND FC CONNECTING METHOD, 180 DGR CABLE OUTLET 1 PACK = 1 PCS | 6GK1901-1BB10-2AA0
198 | SIMATIC HMI, KTP400 BASIC, BASIC PANEL, KEY AND TOUCH OPERATION, 4" TFT DISPLAY, 65536 COLORS, PROFINET INTERFACE, CONFIGURATION FROM WINCC BASIC V13/ STEP7 BASIC V13, CONTAINS OPEN SOURCE SW WHICH IS PROVIDED FREE OF CHARGE FOR DETAILS SEE CD | 6AV2123-2DB03-0AX0
199 | SIMATIC графичен панел 10" TOUCH КTP1000 TFT-COLOR-DISPLAY MPI-/PROFIBUS-DP | 6AV6647-0AЕ11-3AX0
200 | SIPLUS TP277_6"_TOUCH | 6AG1643-0AA01-4AX0
201 | Мобилен панел 277F IWLAN V2 | 6AV6645-0EB01-0AX1
202 | KTP600 Basic Color PN; 6" TFT Display | 6AV6647-0AD11-3AX0
203 | зареждаща станция за Мобилен панел 277(F) IWLAN | 6AV6671-5CE00-0AX0
204 | SIMATIC NET, IWLAN ANTENNA ANT 792-8DN WITH STRONG DIRECTIONAL EFFICIENCY INCL. N-FEMALE CONNECTOR: 14 DBI, IP23, OUTDOOR, -40-+70 DGR C, 2.4GHZ WI-FI COMPLIANCE AND NATIONAL APPROVALS WALL OR MAST MOUNTING, COMPACT MANUAL ON PAPER GERMAN/ENGLISH SCOPE OF SUPPLY: 1X ANT792-8DN, 1X TERMINATING RESISTANCE TI795-1R 1X MOUNTING SUPPORT FOR ADJUSTMENT | 6GK5792-8DN00-0AA6
205
206 | SIMATIC IPC847C (RACK PC, 19", 4U); INTERFACES:2 X GBIT LAN (RJ45); 1 X DVI-I; AUDIO; 2 X COM; 1 X LPT; 2 X PS/2; 4 X USB 2.0 BACKSIDE, 2 X USB 2.0 FRONTSIDE; TEMPERATURE AND FAN CONTROL; WATCHDOG; BOARD RETAINER CORE I7-610E (2C/4T, 2.53 GHZ, 4MB CACHE, TB, VT-X,VT-D, EM64-T, AMT); MOTHERBOARD W/O FIELDBUS; RAID1 500GB (2X 500GB HDD SATA, REMOVABLE DISK, HOT-SWAP; FRONTSIDE MOUNTED; 8 GB DDR3 SDRAM (2 X 4GB), DUAL CHANNEL; DVD +/- RW; BOARD WITH 11 SLOTS: 7 X PCI, 1XPCIE X16 OCCUPIED, 3XPCIE X4; + GRAPHICS CARD PCIE X16, 2 X DP (2 X VGA VIA 2 X DP-VGA-ADAPTER); WINDOWS SERVER 2008 R2 STANDARD EDITION INCL. 5 CLIENT, 64BIT, MUI (EN, GE, FR, IT, SP), SP1 INCLUDED; SIMATIC PC DIAGMONITOR V4.3 & IMAGE&PARTITION CREATOR V3.2 INCLUDED; 2 X 110/230 IREDUNDANT POWER SUPPLY W/O POWER CORD | 6AG4114-1NP42-7QC6
207 | SIMATIC IPC547D (RACK PC, 19", 4U); INTERFACES: 2X GBIT LAN (RJ45), 1X DISPLAYPORT, 1X DVI-I, 8X USB BACK, 2X USB FRONT, 1X USB INTERNAL, 1X SERIAL (COM1), 2X PS/2, AUDIO; 7 EXP. SLOTS (LONG): 4X PCI, 1X PCIE X16, 1X PCIE X16 (4 LANES), 1X PCIE X8 (1 LANE); DRIVE BAYS: 6 (3X 5.25", 1X 3.5" FRONT-ACCESS; | 6AG4104-2DA32-4FC0
208 | 2X 3.5" INTERNAL); TEMPERATURE AND FAN CONTROL; WATCHDOG; BOARD RETAINERS; CORE I7 2600 (4C/8T, 3.4 GHZ, 8 MB LL CACHE, TURBO BOOST 2.0, EM64T,VT-X/-D, IAMT); 500 GB HDD SATA; INTERNALLY MOUNTED; 8 GB DDR3 1333 SDRAM (2X 4 GB), DUAL CHANNEL; DVD+/-RW; SERIAL INTERFACE (COM2) + PARALLEL (LPT) AND PCIE X16 GRAPHICS CARD (DH:2X VGA OR 2X DVI-D); 512MB; WINDOWS 7 ULTIMATE MUI (EN/GE/FR/IT/SP), 64BIT; SP1 ADDED; SIMATIC IPC DIAGMONITOR V4.3 & IMAGE&PARTITION CREATOR V3.2 ADDED; 100/240V INDUSTR. POWER SUPPLY; POWER CORD EUROPE
209 | SIMATIC PC TOWER-KIT, FOR MODIFICATION RACK PC TO INDUSTRIAL TOWER PC, FOR RACK PC 547B, IPC 547D | 6ES7648-1AA00-0XC0
210 | SIMATIC IPC547D | 6AG4104-2AA21-0QX0
211 | IWLAN ACCESS POINT, SCALANCE W788C-2 RJ45, FOR USE WITH IWLAN-CONTROLLER, 2 RADIOS, 6 R-SMA ANT.CONNECT., IEEE 802.11A/B/G/H/N, 2.4/5GHZ, BRUTTO 450 MBIT/S PRO RADIO, 1 X RJ45 (MAX. 1 GBIT/S), POE, 2X24VDC, IP30 (-20-+60 DGR C), POE, WPA2/802.11I/E, NOTE NAT. APPROVALS CONTROLLER! (CERT ID: RAPN-W2-RJ-E3) Contains MPCIE-R1-ABGN-U3 SCOPE OF SUPPLY:MANUALS ON CD, GERMAN/ENGLISH, 2 X TERMINAL BLOCK | 6GK5788-2FC00-1AA0
212 | IWLAN ANTENNA ANT 792-6MN WITH OMNIDIRECTIONAL CHARACTERISTIC INCL. N-FEMALE CONNECTOR: 6 DBI IP65 (-40-+70 DGR C), 2.4 GHZ WI-FI COMPLIANCE AND NATIONAL APPROVALS WALL OR MAST MOUNTING, COMPACT MANUAL ON PAPER GERMAN/ENGLISH SCOPE OF SUPPLY: 1X ANT792-6MN, 1X TERMINATING RESISTANCE TI795-1R | 6GK5792-6MN00-0AA6
213 | IWLAN ANTENNA ANT 795-6MN WITH OMNIDIRECTIONAL CHARACTERISTIC INCL. N-FEMALE CONNECTOR: 6/8 DBI; IP65 (-40-+70 DGR C), 2.4/5GHZ; WI-FI COMPLIANCE AND NATIONAL APPROVALS; MOUNTING ON ROOF AND VEHICLES; COMPACT MANUAL ON PAPER GERMAN / ENGLISH; SCOPE OF SUPPLY: 1X ANT795-6MN, 1X TERMINATING RESISTANCE TI795-1R FOR MOUNTING USE MOUNTING SUPPORT 6GK5795-6MN01-0AA6 | 6GK5795-6MN10-0AA6
214 | IWLAN ANTENNA MOUNTING TOOL (ANT 795-6MN) MOUNTING HELP FOR INSTALLATION ANT795-6MN BELOW THE ROOF, IP20, (-40-+70 DGR C), COMPACT MANUAL ON PAPER GERMAN/ENGLISH | 6GK5795-6MN01-0AA6
215 | DIN RAIL MOUNTING ADAPTER FOR SCALANCE W-788 M12, SCALANCE W-788 RJ45 AND RF290R SCREW-TYPE MOUNTING ON DIN RAIL 35 MM ACCORDING TO DIN EN 50 022. SCOPE OF SUPPLY: MOUNT ADAPTER INCL. FIXING MATERIAL, 3 PCS PER PACKAGE | 6GK5798-8ML00-0AB3
216 | SIMATIC NET R-SMA MALE TERMINATION IMPEDANCE TI795-1R, 50 OHM 2.4 AND 5GHZ, IP65, 0..6GHZ TERMINATOR 50 OHM 1 PACKAGING UNIT = 3 PCS | 6GK5795-1TR10-0AA6
217 | SITOP PSU100S 24 V/2.5 A STABILIZED POWER SUPPLY INPUT: 120/230 V AC OUTPUT: 24 V/2.5 A DC | 6EP1332-2BA20
218 | IWLAN CONTROLLER SCALANCE WLC711; NATIONAL APPROVALS FOR USE OUTSDE NORTHERN AMERICA, CANADA AND JAPAN (ROW) FOR 16 ADDITIONAL ACCESS POINTS; EXPANDABLE TO 48 ACCESS POINTS; REDUNDANCY; LAYER 3-ROAMING; VOIP SUPPORT; POWER DISTRIBUTION; INTERNAL CAPTIVE PORTAL PLEASE NOTE NATIONAL APPROVALS! | 6GK5711-0XC00-1AA0
219 | Индустриален мобилен панел SIMATIC MOBILE PANEL 277 IWLAN V2, WITH HANDWHEEL, KEY SWITCH AND TWO ILLUMINATED PUSHBUTTON, CONFIGURABLE W. WINCC FLEXIBLE STANDARD VERSION 2008 AND HIGHER OR TIA PORTAL V11 SP2 AND HIGHER INCL. 1 MAIN BATTERY POWER SUPPLY TO BE ORDERED SEPARATELY: 6AV6671-5CE00-0AX1 CHARGING ST. 6AV6671-5CN00-0AX2 EXTERNAL POWER SUPPLY UNIT (EU/US/UK/JP) | 6AV6645-0DE01-0AX1
220 | CHARGING STATION FOR MOBILE PANEL 277(F) IWLAN WITH LOCK FOR CHARGE AND HOLD THE MOBILE PANEL 277(F) IWLAN CHARGING OF 2 SPARE BATTERIES | 6AV6671-5CE00-0AX1
221 | POWER SUPPLY, EXTERNAL, FOR MOBILE PANEL IWLAN, INCL. PS CABLE FOR EU, US, UK, JP, INPUT 100 TO 240 V AC | 6AV6671-5CN00-0AX2
222 | SIMATIC HMI MEMORY CARD 512 MB SECURE DIGITAL CARD FOR MP 177, MP 277, MP 377, MOBILE PANEL 277, FROM WINCC FLEXIBLE 2008 SP1 FOR OP 77, TP/OP 177, TP/OP 277, MOBILE PANEL 177 AND ALL HMI PANELS WITH SD/MMC SLOT | 6AV6671-8XB10-0AX1
223 | MOBILE PANEL 277(F) IWLAN, SERVICE SET V1 AMOUNT AND CONTENT: SEE TECHNICAL DATA | 6AV6671-5CA00-0AX1
224 | WALL BRACKET TYPE 10 FOR MOBILE PANEL 170, MOBILE PANEL 177, MOBILE PANEL 277, MOBILE PANEL 277 IWLAN, MOBILE PANEL 277F IWLAN, MOBILE CLIENT900, WITHOUT MOUNTING PARTS AMOUNT: SEE TECHNICAL DATA | 6AV6574-1AF04-4AA0
225 | LABELING SET FOR MOBILE PANEL 277 AMOUNT: SEE TECHNICAL DATA | 6AV6671-5BF00-0AX0
226 | MAIN BATTERY 7.2 V FOR MOBILE PANEL 277 IWLAN, MOBILE PANEL 277F IWLAN, MOBILE PANEL 277 IWLAN V2, MOBILE PANEL 277F IWLAN V2, MOBILE PANEL 277F IWLAN (RFID TAG) | 6AV6671-5CL00-0AX0
227 | SCALANCE X216, MANAGED IE SWITCH, 16 X 10/100MBIT/S RJ45 PORTS, LED DIAGNOSTICS, FAULT SIGNAL. CONTACT WITH SET BUTTON REDUNDANT POWER SUPPLY, PROFINET-IO DEVICE, NETWORK- MANAGEMENT, INTEGRATED REDUNDANCY MANAGER, INCL. ELECTRONIC MANUAL ON CD, C-PLUG OPTIONAL | 6GK5216-0BA00-2AA3
228 | SCALANCE S602 MODULE FOR PROTECTION OF UNITS AND NETWORKS IN AUTOMATION TECHNOLOGY AND FOR PROTECTION OF INDUSTRIAL COMMUNICATION WITH FIREWALL ADDITIONAL FUNCTIONS: ADDRESS CONVERSION (NAT/NAPT), DHCP-SERVER, SYSLOG, SYMBOL. NAME FOR IP-ADDRESSES, PPPOE, DYNDNS, SNMP (V1+V3) GLOBALE FIREWALL RULES | 6GK5602-0BA10-2AA3
229 | SIMATIC HMI KTP400 BASIC MONO PN, BASIC PANEL, KEY AND TOUCH OPERATION, 4" STN DISPLAY, 4 GRAY SCALES, PROFINET INTERFACE, CONFIGURATION FROM WINCC FLEXIBLE 2008 SP2 COMPACT/ WINCC BASIC V10.5/ STEP7 BASIC V10.5, CONTAINS OPEN SOURCE SW, WHICH IS PROVIDED FREE OF CHARGE FOR DETAILS SEE CD | 6AV6647-0AA11-3AX0
230 | SIMATIC HMI KTP600 BASIC MONO PN, BASIC PANEL, KEY AND TOUCH OPERATION, 6" STN DISPLAY, 4 GRAY SCALE, PROFINET INTERFACE, CONFIGURATION FROM WINCC FLEXIBLE 2008 SP2 COMPACT/ WINCC BASIC V10.5/ STEP7 BASIC V10.5, CONTAINS OPEN SOURCE SW WHICH IS PROVIDED FREE OF CHARGE FOR DETAILS SEE CD | 6AV6647-0AB11-3AX0
231 | SIMATIC HMI KTP600 BASIC COLOR PN, BASIC PANEL, KEY AND TOUCH OPERATION, 6" TFT DISPLAY, 256 COLORS, PROFINET INTERFACE, CONFIGURATION FROM WINCC FLEXIBLE 2008 SP2 COMPACT/ WINCC BASIC V10.5/ STEP7 BASIC V10.5, CONTAINS OPEN SOURCE SW WHICH IS PROVIDED FREE OF CHARGE FOR DETAILS SEE CD | 6AV6647-0AD11-3AX0
232 | SIMATIC HMI KTP1000 BASIC COLOR PN, BASIC PANEL, KEY AND TOUCH OPERATION, 10" TFT DISPLAY, 256 COLORS, PROFINET INTERFACE, CONFIGURATION FROM WINCC FLEXIBLE 2008 SP2 COMPACT/ WINCC BASIC V10.5/ STEP7 BASIC V10.5, CONTAINS OPEN SOURCE SW WHICH IS PROVIDED FREE OF CHARGE FOR DETAILS SEE CD | 6AV6647-0AF11-3AX0
233 | SIMATIC HMI TP1500 BASIC COLOR PN, BASIC PANEL, TOUCH OPERATION, 15" TFT DISPLAY, 256 COLORS, PROFINET INTERFACE, CONFIGURATION FROM WINCC FLEXIBLE 2008 SP2 COMPACT/ WINCC BASIC V10.5/ STEP7 BASIC V10.5, CONTAINS OPEN SOURCE SW WHICH IS PROVIDED FREE OF CHARGE FOR DETAILS SEE CD | 6AV6647-0AG11-3AX0
234 | SIMATIC HMI KP300 BASIC MONO PN, BASIC PANEL, KEY OPERATION, 3" FSTN LCD DISPLAY, MONOCHROME BLACK/WHITE, PROFINET INTERFACE, CONFIGURATION FROM WINCC BASIC V11/ STEP7 BASIC V11, CONTAINS OPEN SOURCE SW WHICH IS PROVIDED FREE OF CHARGE FOR DETAILS SEE CD | 6AV6647-0AH11-3AX0
235 | SIMATIC HMI KP400 BASIC COLOR PN, BASIC PANEL, KEY OPERATION, 4" WIDESCREEN-TFT-DISPLAY, 256 COLORS, PROFINET INTERFACE, CONFIGURATION FROM WINCC BASIC V11 SP2/ STEP 7 BASIC V11 SP2, CONTAINS OPEN SOURCE SW WHICH IS PROVIDED FREE OF CHARGE FOR DETAILS SEE CD | 6AV6647-0AJ11-3AX0
236 | SIMATIC HMI, KTP700 BASIC, BASIC PANEL, KEY AND TOUCH OPERATION, 7" TFT DISPLAY, 65536 COLORS, PROFINET INTERFACE, CONFIGURATION FROM WINCC BASIC V13/ STEP7 BASIC V13, CONTAINS OPEN SOURCE SW WHICH IS PROVIDED FREE OF CHARGE FOR DETAILS SEE CD | 6AV2123-2GB03-0AX0
237 | SIMATIC HMI, KTP900 BASIC, BASIC PANEL, KEY AND TOUCH OPERATION, 9" TFT DISPLAY, 65536 COLORS, PROFINET INTERFACE, CONFIGURATION FROM WINCC BASIC V13/ STEP7 BASIC V13, CONTAINS OPEN SOURCE SW WHICH IS PROVIDED FREE OF CHARGE FOR DETAILS SEE CD | 6AV2123-2JB03-0AX0
238 | SIMATIC HMI, KTP1200 BASIC, BASIC PANEL, KEY AND TOUCH OPERATION, 12" TFT DISPLAY, 65536 COLORS, PROFINET INTERFACE, CONFIGURATION FROM WINCC BASIC V13/ STEP7 BASIC V13, CONTAINS OPEN SOURCE SW WHICH IS PROVIDED FREE OF CHARGE FOR DETAILS SEE CD IS PROVIDED FREE OF CHARGE FOR DETAILS SEE CD | 6AV2123-2MB03-0AX0
239 | SIMATIC HMI TP700 COMFORT, COMFORT PANEL, TOUCH OPERATION, 7" WIDESCREEN-TFT-DISPLAY, 16 MIL. COLORS, PROFINET INTERFACE, MPI/PROFIBUS DP INTERFACE, 12 MB USER MEMORY, WINDOWS CE 6.0, CONFIGURABLE FROM WINCC COMFORT V11 | 6AV2124-0GC01-0AX0
240 | SIMATIC HMI TP900 COMFORT, COMFORT PANEL, TOUCH OPERATION, 9" WIDESCREEN-TFT-DISPLAY, 16 MIL. COLORS, PROFINET INTERFACE, MPI/PROFIBUS DP INTERFACE, 12 MB USER MEMORY, WINDOWS CE 6.0, CONFIGURABLE FROM WINCC COMFORT V11 | 6AV2124-0JC01-0AX0
241 | SIMATIC HMI TP1200 COMFORT, COMFORT PANEL, TOUCH OPERATION, 12" WIDESCREEN-TFT-DISPLAY, 16 MIL. COLORS, PROFINET INTERFACE, MPI/PROFIBUS DP INTERFACE, 12 MB USER MEMORY, WINDOWS CE 6.0, CONFIGURABLE FROM WINCC COMFORT V11 | 6AV2124-0MC01-0AX0

## ОП3 ГРУПА 2-техн.
Обособена позиция 3, ГРУПА 2: "Доставка на КИП и А части и модули" - - "Техническо предложение"
№ | Описание | Модел | Срок на доставка в работни дни | Гаранционен срок в месеци (минимум 12 месеца с изключение на консумативите) | Производител
1 | Галваничен разединител единичен 0(4)-20mA пасивен двупроводна схема на свързване | x
2 | Галваничен разединител двоен 0(4)-20mA пасивен двупроводна схема на свързване | x
3 | Галваничен разединител 0(4)-20mA активен двупроводна схема на свързване | x
4 | Индукционен сензор М30х1,5 разтояние на отчитане 10мм. ; Оперативен обхват 0-8мм; AC/DC 20…250V; NO; двупроводно свързване | x
5 | индуктивен датчик; M 30 PNP и NPN, захранване 12 - 24V DC; изход превключващ контакт м30метален , действие 14мм,с кабел | x
6 | нагревател за ел.табло с терморегулатор; мощност 100W; захранване 220V AC | x
7 | нагревател за ел.табло с терморегулатор; мощност 50W; захранване 220V AC | x
8 | нагревател за ел.табло с терморегулатор; мощност 150W; захранване 220V AC | x
9 | Електроконтактни манометри Ø 100; 1 бр. превключващ контакт, магнитно скачащ; захранване 220V AC, радиален, G1/2, полимер , 0-16 bar. | x
10 | ПРОЦЕС - КОНТРОЛЕР серия PC4002-d, токов вход 0(4)-20mA, напрежителен вход 0-1 или 0-10V или вход Pt100; Допълнително-програмиране на 1 или 2 гр. нива – SPDT релейни изходи; Допълнително - вградено захранване 24VDC за трансмитер ; Допълнително - с галванично разделен токов изход 4-20mA | x
11 | Универсален процес индикатор Cfntrol Master SM 15 ABB или аналог със същата функционалност | x
12 | Разходомер ТВ 1/2 Sensus - комплект импулсен изход , за течен флокулант | x
13 | Комплект Разходомер Sensus 620 C L-190 G1 Qn 2,5 3/4 “ + импулсен сензор HRI-A A1 (A4)/D1 | x
14 | Универсален процес индикатор Cfntrol Master SM 15 ABB или аналог със същата функционалност | x
15 | контролер за контрол на температурата на помпа производ. seepex модел sgrttse 230V, сензор NTC 10kΩ / 25˚C, on/off | SGRTSE239VACV
16 | трансмитер за налягане с дисплей wika psd-30, 0-16 bar, PNP, 2 релейни изхода.G1/2 с челна разделителна мембрана, | x
17 | универсален трансмитер, захранване, крайни изключватели Endress+Hauser, RMA422 | 422В11А22А
18 | Брояч на движещи се обекти microsyst, MS8202ALKb 4-20mA, 2 релейни изхода, 6 разряден дисплей или еквивалент със същата функционалност | 33164
19 | температурен контролер за монтаж на панел wika cs4s, cf2s | CF2S-3A-A/A-74H
20 | двупроводен трансмитер за температура вход РТ100, (0-100)˚C, изход (4-20)mA, монтаж DIN, не е необходим HART. | x
21 | датчик поток присъединяване G 3/4" Endress+Hauser, nivocompact tsp | FTW 360
22 | Електрически нивоизключвател за питейни води NO/NC IP68 230V 10A, 10м кабел с противотежест | x
23 | Електрически нивоизключвател за отпадни води NO/NC IP68 230V 10A, 10 м кабел с противотежест | x
24 | трансмитери за вакуум от 0 до -300 mbar; изход 4 - 20mA по двупроводно свързване, захранващо напрежение от 12 до 32V DC, присъединителен размер 1/2", клас на точност 1% | x
25 | трансмитери за налягане от 0 до 50 см H₂O; изход 4 - 20mA по двупроводно свързване; захранващо напрежение от 12 до 32V DC; присъединителен размер 1/2"; клас на точност 1% | x
26 | трансмитери за налягане от 0 до 250 см H₂O; изход 20 - 4mA по двупроводно свързване; захранващо напрежение от 12 до 32V DC; присъединителен размер 1/2"; клас на точност 1% | x
27 | трансмитери за налягане от 0 до 6 bar; изход 4 - 20mA по двупроводно свързване; захранващо напрежение от 12 до 32V DC; присъединителен размер 1/2"; клас на точност 1% | x
28 | трансмитери за налягане от 0 до 8 bar; изход 4 - 20mA по двупроводно свързване; захранващо напрежение от 12 до 32V DC; присъединителен размер 1/2"; клас на точност 1% | x
29 | трансмитери за налягане от 0 до 16 bar; изход 4 - 20mA по двупроводно свързване; захранващо напрежение от 12 до 32V DC; присъединителен размер 1/2"; клас на точност 1% | x
30 | Програмируем Процес-Индикатор модел 4003; Захранване 230V AC, 6V или 24V AC/DC по заявка; монтаж на лицев панел, степен на защита IP30; два 5A/250V релейни изхода; токов вход 4÷20mA, активен или пасивен; токов изход 4÷20mA, активен или пасивен | x
31 | Нивосигнализатор или ниворегулатор модел DLC-4D; Четири нива на сигнализация; Изход за управление на помпа; Изходи за горно и долно аварийно ниво | x
32 | Преобразувател ток-ток модел 5AAC / 4-20mADC - D; входен ток 0-5A AC; Токов изход 4-20mA DC - двупроводна линия; Монтаж - на стандартна 35 mm DIN шина | x
33 | сигнализатор за хлор във въздуха; обхват 0-10ppm CL₂; захранване 24V DC; изход 4-20mA DC, по двупроводно свързване | x
34 | Endress+Hauser RN221 model RN221N-B1,20-253V DC/AC Input 4-20mA,Out 4-20mA Exii ATEX | x
35 | Реле Pepperl+Fuchs WE 77/Ex-1,220V | x
36 | Реле Pepperl+Fuchs KF A6-SR2-Ex1.W | x
37 | Трипътен вентил SCHISHEK, Ex Ruu25-50-Y Explosion proof 24-240W, 50Hz IP66 2,5,5,5 kW | x
38 | PH сонда Endress+Hauser Cleanfit CPA471 | x
39 | Вторичен прибор, Endress + Hauser Liquiline M CM42-PEA100EAE00,PH ORP, Out 4-20mA Hart, Out 4-20mA, Uimax 30V DC,Exii ATEX | x
40 | Температурна сонда Endress+Hauser TR11-GBACA8XH2000, 1xPt100 Cl.A, -50-250C TMT182 Range 0…+60C Ex | x
41 | Магнет Вентил Burkert Ex type 773-A DN50, 0,2-16 bar, 220V Item № 770-629448 | x
42 | Газов Разходомер Binder Ex 2G/2GDEEx deIICTU -20C ≤+60C IBEx U05 ATEx 1068 Type Combimass xd-10 Item№ E40100A200-D1103001-21BS2410 | x
43 | Електроконтактен манометръ Ex Wittig MS1199VW00BK, -100…+150mbar, Pmax 25bar PN:1001635.01.004 | x
44 | Електроконтактен манометър Wika ExII 2G EEX PGS 23.100 | x
45 | Service Kit Endress+hauser Order code:71111191, KIT CSF48 peristaltic tubing 2pcs. | x
46 | UV филтър за дезинфекция, Модел:Troyan UV-3000B, SN:321182-3200D4,производител: Troyan | x
47 | Service Kit Endress+Hauser CSF48,OrderCode 71103292: Power supply 90-230 V AC | x
48 | Service Kit Endress+Hauser CSF48,OrderCode 71141336 Kit base module BASE-E | x
49 | Service Kit Endress+Hauser CSF48,OrderCode 71100607 Kit: basic module BASE-L | x
50 | Service Kit Endress+Hauser CSF48,OrderCode71096396 Kit CSF48: Airmanager complete | x
51 | Service Kit Endress+Hauser CSF48,OrderCode71309358 Kit CSF48: Maintenance kit compressor | x
52 | Service Kit Endress+Hauser CSF48,OrderCode71103283 Kit CSF48: air filter for Membrane pump | x
53 | Service Kit Endress+Hauser CSF48,OrderCode71103290 Kit CSF48 Hose pump: pump motor | x
54 | Service Kit Endress+Hauser CSF48,OrderCode71160066 Kit CSF48 Inline: compressor complete | x
55 | Service Kit Endress+Hauser CSF48,OrderCode 71135632 Kit: module 2AO | x
56 | Service Kit Endress+Hauser CSF48,OrderCode 71135639 Kit: module 2AI | x
57 | Service Kit Endress+Hauser CSF48,OrderCode 71135638 Kit: module DIO | x
58 | Бобина за контактор Chint NC2-coil 220Vfor 265A | x
59 | Limit Switch Telemecanique xckj...h29, 220V, IP66 | x
60 | Limit Switch Telemecanique XCKN2745P20, 220V, IP66 | x
61 | Сензор за наличие на поток PSE | PSE-21 520 R 15 R 1
62 | Бобина за електромагнитен вентил 230Vac, отвор диаметър 9мм, дължина на бобината 30мм,5 w. | x
63 | Бобина за електромагнитен вентил 230Vac, отвор диаметър 10мм, дължина на бобината 30мм,8 w. | x
64 | Оптоелектроннa предпазна завеса | honeywell ff-sd14r10k-s2
65 | Универсален Сигнален кабел с 5 пинов кръгъл щутцер и 5 жилен кабел с дължина 10 м. за управление на дозиращи помпи Prominent Gama, Beta , Delta Original Order Code:1001302 | x
66 | Универсален Сигнален кабел с 5 пинов кръгъл щутцер и 2 жилен кабел с дължина 10 м. за управление на дозиращи помпи Prominent Gama, Beta , Delta Original Order Code:707707 | x

## ОП 3- ГРУПА 3 техн.
Обособена позиция №3, ГРУПА 3: Доставка на честотни регулатори и соф.стартери - "Техническо предложение"
№ | Наименование | Срок на доставка в работни дни | Гаранционен срок в месеци (минимум 12 месеца с изключение на консумативите) | Производител
1 | Soft starters ELM 25022 45A 22KW 42225022 Elmark
2 | YASKAWA CIMR-AC4A0103AAA -честотен
3 | THYFREC VT240S -честотен
4 | Moeller DF6-340-55K -честотен
5 | Grundfos CU351 - Control unit
6 | sinamics v20 -честотен

## ОП3, ГРУПА 4-техн.
Обособена позиция 3, ГРУПА 4 - Доставка на честотни регулатори за помпи "Техническо предложение"
№ | Наименование | Мощност, kW | Срок на доставка в работни дни | Гаранционен срок в месеци (минимум 12 месеца с изключение на консумативите) | Производител
1 | FC202PK37 | 0,37 kW
2 | FC202PK75 | 0,75 kW
3 | FC202P2K2 | 2,2 kW
4 | FC202P4K0 | 4 kW
5 | FC202P5K5 | 5,5 kW
6 | FC202P7K5 | 7,5 kW
7 | FC202P11K | 11 kW
8 | FC202P15K | 15 kW
9 | FC202P18K | 18,5 kW
10 | FC202P22K | 22 kW
11 | FC202P30K | 30 kW
12 | FC202P37K | 37 kW
13 | FC202P45K | 45 kW
14 | FC202P55K | 55 kW
15 | FC202P75K | 75 kW
16 | FC202P90K | 90 kW
17 | FC202P110 | 110 kW
18 | FC202P132 | 132 kW
19 | FC202P160 | 160 kW
20 | FC202P200 | 200 kW
21 | FC202P250 | 250 kW
22 | FC202P315 | 315 kW